External Collector Centrifuge - Initial Qualification

Company Name: _________________		Centrifuge Model: _______________

Serial #: ________________________

| Installation Qualifications | Date | Initials |
| --- | --- | --- |
| Develop Maintenance Plan According to Vendor Requirements (user manual) |  |  |
| RPM* set on centrifuge to achieve appropriate RCF** Refer to Eastern Health document 14711 Centrifuge RCF (g Force) Determination |  |  |
| Check operation & perform speed and timer accuracy check. |  |  |
| Check over unit for any physical or mechanical damage. |  |  |
| Check condition of power cord & strain relief. |  |  |
| Ensure correct operation of safety lid & latch. |  |  |
| Ensure correct operation of emergency override if applicable. |  |  |
| Check temperature accuracy if applicable |  |  |

Initial Calibrations

| Speed (RPM) |  |  | Tachometer Calibration Timer (min) |  |
| --- | --- | --- | --- | --- |
| Set | Display |  | Set | Actual |
| 5000 |  |  |  |  |
| 10000 |  |  |  |  |
| 15000 |  |  |  |  |

*RPM – Revolutions per minute – rpm must be set to achieve proper RCF.

** RCF – Relative centrifugal force or gravitational force.