External Collector Centrifuge Maintenance

THIS FORM IS AN EXAMPLE ONLY. MAINTENANCE TASKS MUST BE SET UP ACCORDING TO SPECIFIC VENDOR REQUIREMENTS AS PER OPERATING MANUAL FOR THE SPECIFIC CENTRIFUGE.

Company Name: _________________		Centrifuge Model: _______________

Serial #: ________________________

| Annual Maintenance | Date | Initials |
| --- | --- | --- |
| Clean inside centrifuge bowl & outside housing with appropriate disinfectant. *Refer to instruction manual* |  |  |
| Check over unit for any physical or mechanical damage. |  |  |
| Check condition of power cord & strain relief. |  |  |
| Check operation & perform speed and timer accuracy check. |  |  |
| Ensure correct operation of safety lid & latch. |  |  |
| Ensure correct operation of emergency override key slot, right side. |  |  |
| Check temperature accuracy if applicable |  |  |

Yearly Calibrations

| Speed (RPM) |  |  | Tachometer Calibration Timer (min) |  |
| --- | --- | --- | --- | --- |
| Set | Display |  | Set | Actual |
| 5000 |  |  |  |  |
| 10000 |  |  |  |  |
| 15000 |  |  |  |  |

As required Maintenance.

| Additional Cleanings in event of a spill |  |
| --- | --- |
| Date: | Initials: |
| Date: | Initials: |
| Date: | Initials: |
| Date: | Initials: |

NOTE: Centrifuge is operated when processing human bodily fluids. Take appropriate precautions and wear proper personal protective equipment when working on unit.

Please ensure to date and initial at the bottom of every week.