Centrifuge Purchasing Checklist

| Mandatory Specifications |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Specification | Specs Met Y/N |  | Comment |
| 1 | Able to achieve RCF* ranges required. Typically, this is a range between 1000 to 1500 RCF depending on tubes being centrifuged References: - Product insert from tube manufacturer - EH document # 14711 Centrifuge RCF Determination | ☐ Yes | ☐ No |  |
| 2 | Ability to program specific RCF and run time | ☐ Yes | ☐ No |  |
| 3 | LCD displays speed (rpm), RCF, and run time | ☐ Yes | ☐ No |  |
| 4 | Fixed horizontal rotor with swing out buckets | ☐ Yes | ☐ No |  |
| 5 | Locking centrifuge lid | ☐ Yes | ☐ No |  |
| 6 | Biocontainment lids i.e., bucket covers, or rotor covers to prevent aerosols. | ☐ Yes | ☐ No |  |
| 7 | Electrical supply 120 volts | ☐ Yes | ☐ No |  |
| 8 | Vendor with specific Canadian Service Centre for: - Technical service for maintenance and calibrations - Technical support and parts centre | ☐ Yes | ☐ No |  |
| Optional Specifications |  |  |  |  |
| 10 | Universal table-top centrifuge. | ☐ Yes | ☐ No |  |
| 11 | Capacity sufficient to accommodate collectors needs and prevent bottle necks (specimens awaiting centrifugation) Tube capacity minimum: (specify) ___________ | ☐ Yes | ☐ No |  |
| 12 | User-friendly, programmable memory of centrifugation cycles which allow you to choose the appropriate settings for different protocols. | ☐ Yes | ☐ No |  |
| 13 | Easy to clean stainless steel chamber | ☐ Yes | ☐ No |  |
| 14 | Metal outside housing | ☐ Yes | ☐ No |  |
| 15 | Smooth running even at maximum speed | ☐ Yes | ☐ No |  |
| 16 | Ramp-up/ Ramp-down capable | ☐ Yes | ☐ No |  |
| 17 | Brushless motor | ☐ Yes | ☐ No |  |
| 18 | Motor-overheating protection | ☐ Yes | ☐ No |  |
| 19 | Automatic imbalance detection and shut off | ☐ Yes | ☐ No |  |
| 20 | Electric brake | ☐ Yes | ☐ No |  |
| 21 | Emergency lid-lock release | ☐ Yes | ☐ No |  |
| 22 | Lid dropping protection | ☐ Yes | ☐ No |  |
| 23 | Warranty | ☐ Yes | ☐ No |  |
| Other Specifications – List Below |  |  |  |  |
|  |  | ☐ Yes | ☐ No |  |

* RCF – Relative centrifugal force also known as gravitational force it the force required to achieve adequate separation of specimen components e.g., blood cells vs serum. The RPM (rounds per minute must be set to achieve the required RCF required for the tube type